FORM  No. 31

1 [See Rule 64 (3)]

2[ PRESCRIBED FOR REPORT EXAMINATION OF HOIST OR LIFT

Occupier ( or Owner) of premises  . . . . . . . . . . . . . . . . . . .

Address : -

- (a)  Type of hoist or lift and identification number  or description 	:

(b)  Date of construction or re-construction (if ascertainable)		:

- Design and construction -

Are all parts of the hoists or lift of good mechanical construction,

Sound material and adequate strength (so far as ascertainable)		:

- Maintenance –

Are the following parts of the hoist or lift properly maintained and

In good working order: if not, state what defects have been found,

(a)  Enclosure of hoist way or lift way 					:

(b)  Landing gates and cage gate(s)						:

(c)  Interlocks on the landing gates and cage(s)				:

(d) Other gate fastenings							:

(e)  Cage or platform and fittings, cage guides, buffers, interior

Of the hoist way or lift way						:

(f)  Over runnings devices   							:

(g)  Suspension ropes or chains, and their attachments			:

(h)  Safety gear, i.e., arrangements for preventing fall of platform

or cage brakes								:

(i)  Brakes									:

(j)  Worm or spur gearing							:

(k)  Other electrical equipment						:

(l)   Other parts								:

- What parts (if any) were inaccessible?					:

- Repairs, renewal or alterations (if any) required and the period

within which they should be executed					:

- Maximum Safe working load subject to repairs, renewals or

alterations (if any) specified in (5)						:

- Others									 	:

I/We certify that . . . . . . . . . . . . . . . . . . . . . . .. . . . . . I/We . . . . . . . . . . . . . . . . . . . . . thoroughly examined the hoist or lift and that the above is a correct report of the result.

Signature 	 :  . . . . . . . . . . . . . . . . . . . . . .

Qualification	 :  . . . . . . . . . . . . . . . . . . . . . .

Address	 : . . . . . . . . . . . . . . . . . . . . . . .

Date		 : . . . . . . . . . . . . . . . . . . . . . . .		  Counter Signature . . . . . . . . . . . . . . . .

Date . . . . . . . . . . . . . . . . . . . . . . . . . . . .

If employed by a Company or Association, give name and address . . . . . . . . . . . . . . . . . . . . .